## Sheet1
Public Works Department
Water Utilities Division
Environmental Services Section
Interceptor/Trap sizing calculation sheet for Plan Review
| Tracking No: | DS | PC |  | BP
Project Name:
Project Address:
| MH# Downstream: |  |  | Quarter Section: |  |  |  | Art Ashe
| INSTALL: |  | 50/100 | gallon interceptor (minimum)
Location shown on plans:
List fixtures to be installed:
| Type of Fixture |  | Count | Size (inches) | FU | Total
| Mop sink |  | 0 | 2 | 3 | 0
| Floor sink |  | 0 | 2 | 3 | 0
| Prep Sink (through FS) |  | 0 | 2 | 3 | 0 | gallon interceptor (minimum)
| Floor drain* |  | 0 | 2 | 2 | 0 | grease trap (minimum)
| 3-comp sink (through FS) |  | 0 | 2 | 3 | 0
| Dishwasher** |  | 0 | 3 | 10 | 0
* All Floor drains are equivalent to 2 FU
** Double Fixture Unit Value
Disposals are no longer allowed per TCC 27-22(e)
| Total fixture count |  | 0 | Flow rate (gpm) |  | 3
| Retention Time |  |  |  |  | 12
| Interceptor size calculated |  |  |  | 0 | 0
| Interceptor size to be installed |  |  |  |  | 50/100
50/100
750
1050
1250
1500
2000
2500
This calculation sheet was generated using the methodology as stated in Chapter 27, Section 27-22(d) of the Tempe City Code.
Regardless of the size of interceptor, the City of Tempe requires a cleaning cycle of no more than 90-days for interceptors and 14 days to 30 days for traps.